| WATER TANK CLEANING SERVICE / INSPECTION REPORT |  |  |  |  |  |  |  |  |  |  |  |
| --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- |
| Client Name | M/S. {{ client_name }}. |  |  |  |  |  |  |  |  |  |  |
| Location of the Project | {{ project_location }} |  |  |  |  |  |  |  |  |  |  |
| Location of Tank | Underground |  | Roof Top |  | Ground |  |  | Floors |  | Other |  |
| Type of Tank | Concrete |  | GRP Panel |  | Molded Fiber |  |  | Steel |  | Other |  |
| Type of pipes | UPVC |  | Galvanized |  | Stainless Steel |  |  | Copper |  | Other |  |
| Date of Cleaning | 08-05-2026 |  | Size of Tank |  |  | 30000 USG |  |  |  |  |  |
| Tank fitted with drain | YES |  | Valves Working |  |  | YES |  |  |  |  |  |
| Lid / Covers Fitted | YES |  | Pumps Working |  |  | YES |  |  |  |  |  |
| Damage | NO |  | Ladder Inside |  |  | YES |  |  |  |  |  |
| Leaks | NO |  | Ladder Outside |  |  | NO |  |  |  |  |  |
| Vent Screen Present | No |  | Pipes Disinfected |  |  | N/A |  |  |  |  |  |
| Vent Screen Installed | Yes |  | Test Method – PH Test Kit |  |  | PH 6.7 |  |  |  |  |  |
| TDS Test Result | 110 |  | Chemical Used |  |  | HygienX Water Tank Cleaner |  |  |  |  |  |

| BEFORE CLEANING |  |  |  | AFTER CLEANING |  |  |  |
| --- | --- | --- | --- | --- | --- | --- | --- |
| Quantity of Water | Full | Half | Empty | Quantity of Water | Full | Half | Empty |
| Condition of Tank | Clean | Dirty | Very Dirty | Condition of water | Clean | Dirty | Very Dirty |
| Bio-Film Staining | Yes |  | No | Bio-Film Staining | Yes |  | No |
| Sediments | Yes |  | No | Sediments | Yes |  | No |
| Algae | Yes |  | No | Algae | Yes |  | No |
| Mould | Yes |  | No | Mould | Yes |  | No |
| Rust | Yes |  | No | Rust | Yes |  | No |
| Comments: Cleaning has been done perfectly, according to rules & regulations of the DM Authority |  |  |  |  |  |  |  |
| Recommendations for Improvement: All tanks should be cleaned bi-annually to ensure proper Hygiene and water safety. It is important to keep the storage tanks and supply lines clean to ensure free flow and to reduce possible damage to the supply line due to scaling and blockages. Neglected tanks are also the perfect breeding ground for harmful bacteria including Legionella, E-coli and TBC etc., which makes the water unfit for human use and consumption |  |  |  |  |  |  |  |